PUREsthetic Matrix Bands
PUREsthetic Matrix Bands 
Profiled strips made of stainless steel in 4 different shapes intended for making class II restorations and for use with photopolymerizable resins.
· produced in 4 designs: 
· type 8 (premolars on both sides), 
· type 9 (molars on both sides), 
· type 12 (premolars one side), 
· type 13 (molars one side),
· thickness 0,05 mm,
· package contains 16 pieces of strips,
· very high smoothness of the strip surface,
· disposable, non-sterile product.

	[image: Paski do formówek profilowane]
Type 8 – premolars on both sides

	[image: Paski do formówek profilowane]
Type 12 – premolars one side


	[image: Paski do formówek profilowane]
Type 9 – molars on both sides

	[image: Paski do formówek profilowane]
Type 13 – molars one side





	PS03008
	PUREsthetic Matrix Bands
Type 8, premolars on both sides, 16 pcs 

	PS03009
	PUREsthetic Matrix Bands
Type 9, molars on both sides, 16 pcs

	PS03012
	PUREsthetic Matrix Bands
[bookmark: _Hlk161646500]Type 12, premolars one side, 16 pcs

	PS03013
	PUREsthetic Matrix Bands
[bookmark: _Hlk161646534]Type 13, molars one side, 16 pcs




PUREsthetic Anatomical Matrix Band 
Strips made of stainless steel intended for making class II restorations. The shape of the strip improves the anatomical adaptation and the point of contact with the reconstruction.
· produced in 6 designs:
· type 21 (premolar left-sided), 
· type 22 (premolar right-sided), 
· type 28 (premolar on both sides), 
· type 23 (molar left-sided), 
· type 24 (molar right-sided), 
· type 29 (molar on both sides),
· thickness 0,05 mm,
· package contains 16 pieces of strips,
· very high smoothness of the strip surface,
· disposable, non-sterile product.

	[image: Paski do formówek tłoczone]
Type 21 – premolar left-sided
	[image: Paski do formówek tłoczone]
Type 23 – molar left-sided

	[image: Paski do formówek tłoczone]
Type 28 – premolar on both sides
	[image: Paski do formówek tłoczone]
Type 29 – molar on both sides

	[image: Paski do formówek tłoczone]
Type 22 – premolar right-sided
	[image: Paski do formówek tłoczone]
Type 24 – molar right-sided



	 
	 PUREsthetic Anatomical Matrix Band

	PS01021
	PUREsthetic Anatomical Matrix Band
Type 21, premolar left-sided, 16 pcs

	PS01022
	PUREsthetic Anatomical Matrix Band
Type 22, premolar right-sided, 16 pcs

	PS01028
	PUREsthetic Anatomical Matrix Band
[bookmark: _Hlk161647396]Type 28, premolar on both sides, 16 pcs

	PS01023
	PUREsthetic Anatomical Matrix Band
Type 23, molar left-sided, 16 pcs

	PS01024
	PUREsthetic Anatomical Matrix Band
[bookmark: _Hlk161647505]Type 24, molar right-sided, 16 pcs

	PS01029
	PUREsthetic Anatomical Matrix Band
Type 29, molar on both sides, 16 pcs



PUREsthetic Self-locking strips
Self-locking strips intended for restoration of class II cavities in molar teeth. The use of a cable tie does not require the use of a mold, which significantly reduces the time of the procedure. The self-locking system allows adjustment depending on the size of the tooth.
· produced in 3 designs:
· type 23 (molar left-sided),
· type 24 (molar right-sided), 
· type 29 (molar on both sides),
· thickness 0,05 mm.
· package contains 10 strips,
· disposable, non-sterile product.

	[image: Paski samozaciskowe]
Type 23 – molar left-sided
	[image: Paski samozaciskowe]
Type 24 – molar right-sided

	[image: Paski samozaciskowe]
Type 29 – molar on both sides
	



	PS02023
	PUREsthetic Self-locking strips
Type 23, molar left-sided, thickness 0,05 mm, 10 pcs

	PS02024
	PUREsthetic Self-locking strips
Type 24, molar right-sided, thickness 0,0 5mm, 10 pcs

	PS02029
	PUREsthetic Self-locking strips
[bookmark: _Hlk161648281]Type 29, molar on both sides, thickness 0,05 mm, 10 pcs






PURESTHETIC RESTORATION KITS

PUREsthetic Restoration Kit no. 1 molar on right-sided 
PS06001

Set for restoring class II cavities intended for right-sided molar teeth.
Kit contains:
· PUREsthetic Anatomical Matrix Band – type 24, molar right-sided ,16 pcs
· PUREsthetic Self-locking strips – type 24, molars right-sided, 10 pcs
· PUREsthetic Matrix Bands – type 13, molars one side, 16 pcs



PUREsthetic Restoration Kit no. 2 molar on left-sided 
PS06002

Set for restoring class II cavities intended for left-sided molar teeth.
Kit contains:
· PUREsthetic Anatomical Matrix Band – type 23, molar left-sided, 16 pcs
· PUREsthetic Self-locking strips – type 23, molars left-sided, 10 pcs
· PUREsthetic Matrix Bands – type 13, molars one side, 16 pcs



PUREsthetic Restoration Kit no. 3 molar on both sides 
PS06003

Set for restoring class II cavities intended for both sides molar teeth.
Kit contains:
· PUREsthetic Anatomical Matrix Band – type 29, molar on both sides, 16 pcs
· PUREsthetic Self-locking strips – type 29, molars on both sides, 10 pcs
· PUREsthetic Matrix Bands – type 9, molars on both sides, 16 pcs



PUREsthetic Restoration Kit no. 4 premolar right-sided 
PS06004
Set for restoring class II cavities intended for right-sided premolar teeth.
Kit contains:
· PUREsthetic Anatomical Matrix Band – type 22, premolar right-sided, 16 pcs
· PUREsthetic Matrix Bands – type 12, premolars one side, 16 pcs
· PUREsthetic Polyester Matrix Strips – width 8 mm, thickness 0,05 mm, 15 mb, 1 pc





PUREsthetic Restoration Kit no. 5 premolar left-sided 
PS06005

Set for restoring class II cavities intended for left-sided premolar teeth.
Kit contains:
· PUREsthetic Anatomical Matrix Band – type 21, premolar left-sided, 16 pcs 
· PUREsthetic Matrix Bands – type 12, premolars one side, 16 pcs
· PUREsthetic Polyester Matrix Strips – width 8 mm, thickness 0,05 mm, 15 mb, 1 pc


PUREsthetic Restoration Kit no. 6 premolar on both sides
PS06006

Set for restoring class II cavities intended for both sides premolar teeth.
Kit contains:
· PUREsthetic Anatomical Matrix Band – type 28, premolar on both sides, 16 pcs
· PUREsthetic Matrix Bands – type 8, premolars on both sides, 16 pcs
· PUREsthetic Polyester Matrix Strips – width 8 mm, thickness 0,05 mm, 15 mb, 1 pc


image2.jpeg




image3.jpeg




image4.jpeg




image5.jpeg




image6.jpeg




image7.jpeg




image8.jpeg




image9.jpeg




image10.jpeg




image11.jpeg




image12.jpeg




image13.jpeg




image1.jpeg




