PUREsthetic Matrix Bands
PUREsthetic Matrix Bands

Profiled strips made of stainless steel in 4 different shapes intended for making class II restorations and for use with photopolymerizable resins.

- produced in 4 designs:

  - type 8 (premolars on both sides),

  - type 9 (molars on both sides),

  - type 12 (premolars one side),

  - type 13 (molars one side),

- thickness 0,05 mm,

- package contains 16 pieces of strips,

- very high smoothness of the strip surface,

- disposable, non-sterile product.

| Type 8 – premolars on both sides | Type 12 – premolars one side |
| --- | --- |
| Type 9 – molars on both sides | Type 13 – molars one side |

| PS03008 | PUREsthetic Matrix Bands Type 8, premolars on both sides, 16 pcs |
| --- | --- |
| PS03009 | PUREsthetic Matrix Bands Type 9, molars on both sides, 16 pcs |
| PS03012 | PUREsthetic Matrix Bands Type 12, premolars one side, 16 pcs |
| PS03013 | PUREsthetic Matrix Bands Type 13, molars one side, 16 pcs |

PUREsthetic Anatomical Matrix Band

Strips made of stainless steel intended for making class II restorations. The shape of the strip improves the anatomical adaptation and the point of contact with the reconstruction.

- produced in 6 designs:

  - type 21 (premolar left-sided),

  - type 22 (premolar right-sided),

  - type 28 (premolar on both sides),

  - type 23 (molar left-sided),

  - type 24 (molar right-sided),

  - type 29 (molar on both sides),

- thickness 0,05 mm,

- package contains 16 pieces of strips,

- very high smoothness of the strip surface,

- disposable, non-sterile product.

| Type 21 – premolar left-sided | Type 23 – molar left-sided |
| --- | --- |
| Type 28 – premolar on both sides | Type 29 – molar on both sides |
| Type 22 – premolar right-sided | Type 24 – molar right-sided |

|  | PUREsthetic Anatomical Matrix Band |
| --- | --- |
| PS01021 | PUREsthetic Anatomical Matrix Band Type 21, premolar left-sided, 16 pcs |
| PS01022 | PUREsthetic Anatomical Matrix Band Type 22, premolar right-sided, 16 pcs |
| PS01028 | PUREsthetic Anatomical Matrix Band Type 28, premolar on both sides, 16 pcs |
| PS01023 | PUREsthetic Anatomical Matrix Band Type 23, molar left-sided, 16 pcs |
| PS01024 | PUREsthetic Anatomical Matrix Band Type 24, molar right-sided, 16 pcs |
| PS01029 | PUREsthetic Anatomical Matrix Band Type 29, molar on both sides, 16 pcs |

PUREsthetic Self-locking strips

Self-locking strips intended for restoration of class II cavities in molar teeth. The use of a cable tie does not require the use of a mold, which significantly reduces the time of the procedure. The self-locking system allows adjustment depending on the size of the tooth.

- produced in 3 designs:

  - type 23 (molar left-sided),

  - type 24 (molar right-sided),

  - type 29 (molar on both sides),

- thickness 0,05 mm.

- package contains 10 strips,

- disposable, non-sterile product.

| Type 23 – molar left-sided | Type 24 – molar right-sided |
| --- | --- |
| Type 29 – molar on both sides |  |

| PS02023 | PUREsthetic Self-locking strips Type 23, molar left-sided, thickness 0,05 mm, 10 pcs |
| --- | --- |
| PS02024 | PUREsthetic Self-locking strips Type 24, molar right-sided, thickness 0,0 5mm, 10 pcs |
| PS02029 | PUREsthetic Self-locking strips Type 29, molar on both sides, thickness 0,05 mm, 10 pcs |

PURESTHETIC RESTORATION KITS

PUREsthetic Restoration Kit no. 1 molar on right-sided

PS06001

Set for restoring class II cavities intended for right-sided molar teeth.
Kit contains:

- PUREsthetic Anatomical Matrix Band – type 24, molar right-sided ,16 pcs

- PUREsthetic Self-locking strips – type 24, molars right-sided, 10 pcs

- PUREsthetic Matrix Bands – type 13, molars one side, 16 pcs

PUREsthetic Restoration Kit no. 2 molar on left-sided

PS06002

Set for restoring class II cavities intended for left-sided molar teeth.
Kit contains:

- PUREsthetic Anatomical Matrix Band – type 23, molar left-sided, 16 pcs

- PUREsthetic Self-locking strips – type 23, molars left-sided, 10 pcs

- PUREsthetic Matrix Bands – type 13, molars one side, 16 pcs

PUREsthetic Restoration Kit no. 3 molar on both sides

PS06003

Set for restoring class II cavities intended for both sides molar teeth.

Kit contains:

- PUREsthetic Anatomical Matrix Band – type 29, molar on both sides, 16 pcs

- PUREsthetic Self-locking strips – type 29, molars on both sides, 10 pcs

- PUREsthetic Matrix Bands – type 9, molars on both sides, 16 pcs

PUREsthetic Restoration Kit no. 4 premolar right-sided 
PS06004

Set for restoring class II cavities intended for right-sided premolar teeth.

Kit contains:

- PUREsthetic Anatomical Matrix Band – type 22, premolar right-sided, 16 pcs

- PUREsthetic Matrix Bands – type 12, premolars one side, 16 pcs

- PUREsthetic Polyester Matrix Strips – width 8 mm, thickness 0,05 mm, 15 mb, 1 pc

PUREsthetic Restoration Kit no. 5 premolar left-sided

PS06005

Set for restoring class II cavities intended for left-sided premolar teeth.

Kit contains:

- PUREsthetic Anatomical Matrix Band – type 21, premolar left-sided, 16 pcs

- PUREsthetic Matrix Bands – type 12, premolars one side, 16 pcs

- PUREsthetic Polyester Matrix Strips – width 8 mm, thickness 0,05 mm, 15 mb, 1 pc

PUREsthetic Restoration Kit no. 6 premolar on both sides

PS06006

Set for restoring class II cavities intended for both sides premolar teeth.

Kit contains:

- PUREsthetic Anatomical Matrix Band – type 28, premolar on both sides, 16 pcs

- PUREsthetic Matrix Bands – type 8, premolars on both sides, 16 pcs

- PUREsthetic Polyester Matrix Strips – width 8 mm, thickness 0,05 mm, 15 mb, 1 pc