Luer Lock Application Tips
Narrow and Flexible Applicator Tips

Single-use Luer lock tips for precise application of dental materials. Featuring thin and flexible endings (G.25/G.23) designed to fit Luer lock syringes. They ensure accurate delivery of dental materials and are ideal for endodontic applications. Transparent tips are suitable for both water-based and oil-based pastes.

YS1001 – G.25, navy blue

- Contents: 50 pcs

- Diameter: 0.25 mm

- Tip length: 21 mm

- Compatibility: Luer Lock

- Application: precise delivery of materials in narrow, hard-to-reach root canals – e.g., root canal pastes

- Working comfort: flexible, thin plastic tip ensures smooth application and patient safety

YS1002 – G.23, black

- Contents: 50 pcs

- Diameter: 0.35 mm

- Tip length: 21 mm

- Compatibility: Luer Lock

- Application: ideal for applying higher-viscosity materials, such as certain cements or thicker pastes

- Working comfort: slightly stiffer than G.25, yet still flexible and gentle on tissues

YS1007 – G.25, transparent

- Contents: 50 pcs

- Diameter: 0.25 mm

- Tip length: 21 mm

- Compatibility: Luer Lock

- Application: especially recommended for calcium hydroxide pastes – both water-based and oil-based

- Working comfort: flexibility facilitates work in curved canals

Unique Selling Points (USP):

- Precise G.25/G.23 diameters – perfectly matched to various material viscosities

- Flexible, soft tip – patient-safe, allowing work even in curved canals

- Standard Luer Lock – fits most syringes available on the market

- Universal application – from medicated pastes to sealers and cements

- Economical 50-piece packs – optimal quantity for both private practices and clinics

| YS1001 | Application tips G.25, navy blue, 50 pcs |
| --- | --- |
| YS1002 | Application tips G.23, black, 50 pcs |
| YS1007 | Application tips G.25, transparent, 50 pcs |

Luer Lock Application Tips
Narrow and Flexible Applicator Tips

Available in three variants:

- YS1001 (G.25, navy blue) – for precise application in narrow canals, Ø 0.25 mm, length 21 mm, Luer Lock

- YS1002 (G.23, black) – for higher-viscosity materials, Ø 0.35 mm, length 21 mm, Luer Lock

- YS1007 (G.25, transparent) – ideal for calcium hydroxide pastes (water- and oil-based), Ø 0.25 mm, length 21 mm, Luer Lock