1) Do the mirrors provide magnification?

The mirrors are designed with a flat surface and do not provide magnification. They are not magnifying mirrors.

2) How should the mirrors be properly maintained?

- Please use only neutral or slightly acidic disinfectants for sterilization. Alkaline agents should be avoided, as they may damage the mirror surface.

- Always follow the concentration and immersion time specified in the disinfectant’s instructions.

- After disinfection, rinse thoroughly with clean water or plasma water.

- Allow the mirror to dry completely before individual packaging.

- Finally, perform high-pressure autoclave sterilization.