1) Do the mirrors provide magnification?
The mirrors are designed with a flat surface and do not provide magnification. They are not magnifying mirrors.

2) How should the mirrors be properly maintained?
· Please use only neutral or slightly acidic disinfectants for sterilization. Alkaline agents should be avoided, as they may damage the mirror surface.
· Always follow the concentration and immersion time specified in the disinfectant’s instructions.
· After disinfection, rinse thoroughly with clean water or plasma water.
· Allow the mirror to dry completely before individual packaging.
· Finally, perform high-pressure autoclave sterilization.

